| Field Note: 79 |  | Distribute freely |
| --- | --- | --- |

Subject:  MicroTouch Monitors & MIC System I

Date Created: July 30, 2026

Product: MIC System I

Is your MicroTouch monitor failing scrn-cal?

If so, check the MicroTouch's "communications parameters", because the factory settings are incompatible with MIC System I.

The communications parameters for the MicroTouch monitor must be set to N81.

To check the MicroTouch monitor's "communications parameters" run the calibration software provided with the monitor.  Consult your MicroTouch handbook for instructions on how to calibrate your MicroTouch monitor.

Martin J Parkes

July, 26